## Slide 1
Evgeny Katz
Department of Chemistry & Biomolecular Science, Clarkson University, Potsdam, NY, USA
Living battery - biofuel cells operating in vivo
Workshop on ‘Synergies between Semiconductors and Synthetic Biology’ (SemiSynBio) – February 22-23, 2013

## Slide 2: Enzyme-Based Biofuel Cells
Anode example
Cathode example

## Slide 3
Biofuel cell implanted in snail for in vivo operation
L. Halámková, J. Halámek, V. Bocharova, A. Szczupak, L. Alfonta, E. Katz, J. Am. Chem. Soc. 2012, 134, 5040-5043.

## Slide 6
Biofuel cell implanted in clam for in vivo operation
A. Szczupak, J. Halámek, L. Halámková, V. Bocharova, L. Alfonta, E. Katz,
Energy & Environmental Science 2012, 5, 8891-8895.

## Slide 8
Getting electrical power for activating electronic devices: From the animal research to biomedical applications
K. MacVittie, J. Halámek, L. Halámková, M. Southcott, W.D. Jemison, R. Lobel, E. Katz, Energy & Environmental Science 2013, 6, 81-86.

## Slide 9
Activation of a digital watch (as a model device) by the implanted biofuel cells

## Slide 10
Activation of a pacemaker by the implantable biofuel cells mimicking human physiology

## Slide 11
Good news – the pacemaker operation was perfect !!!

## Slide 12
Bad news – the system included 5 biofuel cells with serial connection

## Slide 13
Powering pacemaker from a single implantable biofuel cell through a charge pump
(A) Experimental setup which includes (from left to right): (a) sensor device for the Medtronic CareLink Programmer, Model 2090, (b) Medtronic Reveal XT, Model 9529, implantable loop recorder (ILR), (c) Affinity DR 5330L, St. Jude Medical, pacemaker, (d) the charge pump–DC-DC interface circuit, (e) the flow biofuel cell with the inlet/outlet connected to a peristaltic pump (not shown in the scheme). (B) Registered pulses generated by the pacemaker when it is powered by the standard battery. (C) Registered pulses generated by the pacemaker when it is powered by the biofuel cell.
Standard battery
Biofuel cell

## Slide 14
C
NH
O
Bioelectrocatalytic electrodes operating in vivo can be used for many different bioelectronic and biosensor applications
Electrode
Power from biofuel cell
Information from biosensor
Fuel
Analyte

## Slide 15
The research is supported by:

## Slide 16
Bioelectronics & Bionanotechnology group of Prof. Evgeny Katz, Clarkson University

## Slide 17
Thank you! Any questions?
Evgeny Katz, Dept. of Chemistry & Biomolecular Science, Clarkson University